Energy foundations and other thermo-active

ground structures (for heating and cooling of buildings)

by

Professor Heinz Brandl

Vienna University of Technology

Energy foundations and other thermo-active ground structures, energy wells, and pavement heating represent an innovative technology that contributes to environmental protection and provides substantial long-term cost savings and minimized maintenance. The lecture focuses on earth-contact concrete elements which are already required for structural reasons and simultaneously work as heat exchangers. Absorber pipes filled with a heat carrier fluid are installed within conventional structural elements (piles, barrettes, diaphragm walls, basement slabs or walls, tunnel linings) forming the primary circuit of a geothermal energy system. The natural ground temperature is used as a heat source in winter and for cooling in summer. Hence, no additional elements have to be installed below surface. The primary circuit is then connected via a heat pump to a secondary circuit within the building.

The lecture describes heat transfer in a ground, and between absorber fluid and concrete/soil. Temperature induced changes of soil properties or of foundation behaviour are also discussed. Moreover, recommendations for design and operation are given. Pilot research projects and case histories bridge the gab between theory and practice, and special applications reveal the wide field of geothermal geotechnics. For instance, several new metro stations in Vienna are equipped with this technology. Finally, benefits of thermo-active ground structures and recommendations for promoting energy utilization are listed.